[image: image1.png]Florida Water
Environment
Association

UTILITY COUNCIL
“awef Member Association




To:

FWEA Utility Council

From:
David Childs

Re:

FDEP Proposes Updates to Field and Laboratory SOP Rules

Date:
March 16, 2026

On March 11, 2026, the Florida Department of Environmental Protection proposed updates to Chapter 62-160, Florida Administrative Code, governing field and laboratory standard operating procedures.  The rulemaking could generally described as a clean-up of existing rules, as mandated by recent legislation that requires agencies to periodically review and update rules based on current Florida Statutes; however, several of the changes appear to be substantive. 
The proposed rule includes the following changes: 
1) Provides instructions for collection of per- and polyfluoroalkyl (PFAS) substances samples,
 
2) Expands procedures for continuous monitoring with field meters, 
3) Updates and revise definitions to be consistent with the use of terms throughout the Chapter, 
4) Provides additional options for field measurement of chlorine, transparency, and turbidity, 
5) Modifies sampling proficiency requirements for bioassessment methods, 
6) Clarifies conditions for use of field methods other than DEP SOPs or those required in Department rules, permits, contracts or orders, 
7) Adds an option for alternative and modified field procedures to be used in place of a laboratory procedure, 
8) Adds documentation requirements for field and laboratory activities, 
9) Adds language to specify measures taken by the Department for failure of an audited body to provide applicable records to conduct field and laboratory audits, 
10) Clarifies various data qualifier codes based on stakeholder input, 
11) Updates several incorporated documents applicable to current revisions and referenced throughout this Chapter, and 
12) Makes several updates to rule references and dates throughout this Chapter.
Attached to this memorandum are two documents: a table that describes the changes to the documents incorporated by reference to the rule and a copy of the proposed rule. Please note that FDEP does not plan to conduct a rule adoption hearing regarding these changes; however, they will convene a hearing if requested by April 1, 2026.  If you have any questions or concerns regarding this rulemaking, please contact David Childs at david@ballardpartners.com. 
	Document Number
	Document Name
	Proposed Changes

	BRN 1000
	Biological Reconnaissance Field Method
	· Clarified allowance for lab sorting and added language describing appropriate conditions for field sorting.

· Update taxa metrics tables (minor taxonomic revisions).

	FA 1000
	Field Administrative
	· Proposed changes according to Rule 62-160.220, F.A.C. Added requirements for use of a field testing procedure in place of a laboratory procedure.

· Proposed minor additions to Quality Assurance Policies and Procedures to align more closely with TNI policies.

· Proposed revised requirements for Stream and River Habitat Assessment proficiency testing process. Required field testing will be reduced from five sites every two years to three sites every five years, and an online test requirement will be added.

· Proposed addition of an online test requirement for Rapid Periphyton Survey proficiency.

· Proposed addition of an online test requirement for Linear Vegetation Survey proficiency.

· Added cyanotoxins to the extractable organics analyte group, added E.coli and qPCR to the microbiological-bacteria analyte group, and added per- and polyfluoroalkyl substances (PFAS) as an analyte group (Tables FA 1000-2 and FA 1000-3).

· Revised audit checklists to match requirements in FD 1000 and associated SOPs.

· Revised glossary to match definitions in Chapter 62-160, F.A.C.  Definitions were removed if they also occurred in Chapter 62-160.120, F.A.C.

	FC 1000
	Field Decontamination
	· Added provisions for equipment decontamination when collecting samples for PFAS analysis.

· Minor clarifications and editorial changes.

	FD 1000
	Field Documentation
	· Revised to match documentation requirements listed in individual SOPs and field sheets. 

· Added section FD 4300 for continuous monitoring with field meters documentation requirements.

· Added sections to FD 5300 for Stream and River Physical/Chemical Characterization and Lake Observation documentation requirements.

· Removed optional forms from the list of documents incorporated by references into 62-160.800, F.A.C.

	FM 1000
	Field Mobilization
	· Minor clarifications and editorial changes.

	FQ 1000
	Field Quality Control
	· Added PFAS to list of parameters for which blanks are required.

· Clarified the process for collection of field duplicates and equipment blanks. 

· Added language to note analytes or programs may have more stringent requirements for collection of quality control samples including field blanks, equipment blanks, trips blanks and/or duplicates.

	FS 1000
	General Sampling
	· Clarified requirements for wearing gloves and added requirement for use of powderless nitrile gloves when sampling for PFAS.

· Added new methods/compounds to appropriate preservation and holding time tables per EPA updates. 

· Added PFAS methods to appropriate preservation and holding time tables.

· Added the PFAS analyte group to container and equipment material tables.

· Changed preservation temperature from 4+2°C to <6°C per EPA and method updates.

· Removed Figure FS 1000-1 Organic trap diagram.

· Added: “Sodium thiosulfate should only be added to samples to be used for measurement of bacteria, PAHs or other organic pollutants if residual chlorine or other oxidants are known or suspected to be present.“ to Table FS 1000-4, footnote 5.

· Made corrections to Table FS 1000-7 to match associated method reference to SW 846 Method 5035A.

· Made corrections to Table FS 1000-8 to reflect regulatory holding time requirements for drinking water source water samples for coliforms.

	FS 2000
	General Aqueous Sampling
	· Added new equipment material requirements and cautions for extractable organics sampling for surface water.

· Clarified volume requirement for bacteria samples.

· Removed “do not use containers with dechlorinating chemicals when collecting samples from sources that are known to be free from residual chlorine” from bacteriological sample instructions.

· Added a new Section FS 2011 for PFAS sampling requirements. 

	FS 2100
	Surface Water Sampling
	· Added new equipment material requirements for extractable organics sampling for surface water.

	FS 2200
	Groundwater Sampling
	· Added use of form FD 9000-24 or other datasheet to capture documentation requirements.  

· Added considerations for PFAS sampling.

· Added new section, FS 2218, for purging requirements for Underground Injection Control wells.



	FS 2300
	Drinking Water Sampling
	· Added new procedures for collecting samples for the Lead and Copper Rule, to be implemented after 11/1/2027. 

· Added a new Section FS 2340 for PFAS sampling requirements. 

· Minor clarifications and editorial changes.

	FS 2400
	Wastewater Sampling
	· Updated informational reference to EPA wastewater procedure and clarified its requirement to check the flow measurement system.

· Minor clarifications.

	FS 3000
	Soil Sampling
	· Revised to align with FS 1000 preservation temperature.

· Added type 1-L Portland cement as example of cement type to use to grout the hole to land surface in the case of a breach of the confining layer during sampling.

	FS 4000
	Sediment Sampling
	· Revised to align with FS 1000 preservation temperature.

· Added “for in situ collection of pore water” to clarify sampler types.

	FS 5000
	Waste Sampling
	· Minor clarifications.

	FS 6000
	Tissue Sampling
	· Updated optional references.

· Changed the minimum number of individuals required to be collected per species from twelve to eight for DOH mercury advisory purposes.

· Revised to align with FS 1000 preservation temperature.

	FS 7000
	Biological Communities
	· Added timeframe/expiration date for use of Lugol’s solution.

· Added minor method clarifications.

· Removed Algal Scum Sample Core method. 

· Revised application of Rapid Periphyton Survey method under certain conditions for the stream numeric nutrient standards based on DEP statistical analyses.

· Added proficiency requirement (online tests) for Rapid Periphyton Survey and Linear Vegetation Survey.

· Added proficiency requirements for periphyton taxonomists that perform taxon identification for the Rapid Periphyton Survey.

	FS 8100
	Contaminated Surface Sampling
	· Clarified requirements for glove use when sampling contaminated surfaces.

· Replaced the reference to FQ 1000 with more specific requirements for chip and sweep sample blanks.

	FS 8200
	Clean Sampling for Trace Metals
	· Revised reagent prep method per revision to EPA Method 1669.

	FT 1000
	Field Testing General
	· Added “Standards may be used after their expiration date with documentation of successful verification” to general expectations and requirements.

· Added “when determining if acceptance criteria are met, the calculated difference between the expected value and the meter value should be expressed with the same precision as the acceptance criteria” to minimum calibration requirements.

· Added acceptance criteria for turbidity standards <0.1 NTU/FNU.

· Added FNU to Table FT 1000-1 Field Testing Acceptance Criteria.

	FT 1100
	Field pH
	· Added precaution regarding pH buffer values at different temperatures and use of automatically temperature-adjusting meters. 

· Clarified use of fresh buffer when rinsing prior to calibration; use of fresh buffer not required when rinsing prior to verifications.

	FT 1200
	Field Specific Conductance
	· Proposed clarifications to distinguish between specific conductance and conductivity.

· Clarified use of fresh buffer when rinsing prior to calibration; use of fresh buffer not required when rinsing prior to verifications.

	FT 1300
	Field Salinity
	· Revised to match requirements in FT 1200.

· Clarified the requirement to document that verifications achieve the quantitative bracketing requirement for salinity.

	FT 1400
	Field Temperature
	· Minor revisions to update an incorporated reference.

	FT 1500
	Field Dissolved Oxygen
	· Added precaution regarding use of barometric pressure when determining dissolved oxygen saturation.

· Added more detail to Table FT 1500-1 Solubility of Oxygen in Water at Atmospheric Pressure.

	FT 1600
	Field Turbidity
	· Added introductory text to describe new sections, FT 1620 and FT 1630. The majority of the existing SOP is now contained in FT 1610.

· Clarified requirements for use of standards commercially available for calibration and verifications and use of turbidity-free water.

· Added acceptance criteria for turbidity standard value <0.1 NTU.

· Added requirements for optical/LED probes (FT 1620).

· Added requirements for continuous measurement of total suspend solids (TSS) including equipment, calibration, verification and documentation (FT 1630).

	FT 1700
	Field Light Penetration
	· This SOP was completely revised and updated to include more universal requirements for PAR/transparency measurements and documentation. 

	FT 1800
	Field Flow Measurements
	· Minor revisions to update an incorporated reference.

	FT 1900
	Field Continuous Monitoring
	· Added introductory text to describe SOP sections, FT 1910 and FT 1920.

· Existing SOP content moved to FT 1910.

· Added verification tolerances for TSS meters.

· Added section for continuous monitoring for ambient in situ monitoring for pH, dissolved oxygen, specific conductance/salinity, temperature and turbidity (FT 1920).

	FT 2000
	Field Residual Chlorine
	· Added reagent-less amperometric meters for analysis of reclaimed waters (2020 statewide alternative method approval).

	FT 2100
	Field Measurement of Nitrate
	· This is a new SOP for optical nitrate probes used to measure nitrate concentrations in natural waters under field conditions.

	FT 3000
	Habitat Assessment
	· Clarified instructions to match associated field forms, FD 9000-3 (Phys/Chem) and FD 9000-4 (HA). 

· Separated instructions for stream and river physical/chemical observations (form FD 9000-3) vs. lake physical/chemical observations (form FD 9000-31).

· Modified habitat assessment proficiency requirements (FT 3100).

· Clarified requirements for hydrologic modification characterization (FT 3101).

	LD 1000
	Laboratory Documentation (Bioassessment)
	· Added documentation requirement for comments associated with macroinvertebrate quality control checks: include comment that corrections were made to appropriate database(s) as a result of a QC check.

· Removed documentation requirements for DEP macroinvertebrate taxonomic round robin exercise.

	LQ 1000
	Laboratory Quality Control (Bioassessment)
	· Revised the Initial Demonstration of Proficiency for Quality Control of Algal Identifications from 60% to 70% similarity at the genus level for soft algae and from 60% to 70% at the species level for diatom identifications.

· Removed the requirement for DEP staff to participate in the DEP macroinvertebrate taxonomic round robin exercise.

· Added documentation requirement for comments associated with macroinvertebrate quality control checks: include comment that corrections were made to appropriate database(s) as a result of a QC check.

· Added requirement that corrections be made to appropriate database(s) as a result of a QC checks.

	LT 7000
	Biological Indices
	· Updated plant taxa names in wetland condition index calculation instructions.

· Updated website location for Macroinvertebrate Taxonomic Keys.

· Revised Table LT 7600-1 based on taxonomic changes and new FISC category 1 and 2 plants.

	LVI 1000
	Lake Vegetation Index Methods
	· Added lake observation requirements for LVI field documentation.

· Changed FLEPPC to FISC. 

· Revised the plant test requirement frequency and added a requirement for all team members to pass an LVI method test every two years.

· Added recommended (optional) Plant Quality Control identification exercise.

· Revised Appendix LVI 1000-1 Plant Attributes for LVI Calculation based on taxonomic changes and new FISC category 1 and 2 plants.

	SCI 1000
	Stream Condition Index Methods
	· Added allowance for use of ice for Stream Condition Index sample preservation (if sorted or preserved within 24 hours). 

· Added requirement for personnel to complete training for habitat assessment before requesting a first time audit for SCI.

· Updated taxa metrics tables (minor taxonomic revisions). 

· Added calculation formula for cumulative identification rate for laboratory QC for macroinvertebrate taxonomic identification.

· Updated SCI Bioregions map to align with the southern boundary of the Peninsula Stream NNC Region.

· Removed the requirement to participate in DEP Taxonomic Quality Control Round Robins for DEP taxonomists.

· Updated website location for Macroinvertebrate Taxonomic Keys

	DEP-QA-001/01
	Alternative and Modified Analytical Laboratory Methods
	· Updated definition and procedure of method detection limit to match EPA revisions (2016). 

· Revised Appendix to match DEP-EA-001/07.

	DEP-EA-001/07
	Process for Assessing Data Usability
	· Updated references to 2016 TNI Standard.

· Clarified language and added definitions for quality control components (matrix spikes, laboratory control samples, surrogate spikes, duplicates, replicates).

· Updated calibration standard information per 2016 TNI Standard.

· Added DEP’s hold time interpretation; specified how to interpret/calculate hold times in hours and hold time in days. 

· Added appendices with quality control calculations and method detection limit determination instructions.

	DEP-SAS-002/11
	Lake Vegetation Index Primer
	· Minor clarifications and editorial changes.

· Proficiency requirements updated per changes in the LVI SOP.

	DEP-SAS-001/11
	Stream Condition Index Primer
	· Removed text duplicated in NNC Implementation Document and/or SOP SCI 1000. 

· Revised and added descriptions of SCI metrics. 

· Added guidance for sampling large rivers and nonperennial systems.

· Added Appendix regarding identification and sampling of large river systems and nonperennial systems.

	DEP-SAS-002-10
	Applicability of Chlorophyll a Methods
	· Proposed to incorporate into 62-160.320(7), F.A.C. Currently incorporated into 62-302, F.A.C.

· Updated Standard Method year and chapter revisions for chlorophyll methods.

· In Table 1, revised a note to indicate that appropriate WQ criteria should inform the sensitivity of the method used rather than a set range of concentrations.

	FD 9000-5
	Stream/River Habitat Assessment Field Sheet
	· Changed STORET to WIN.

	FD 9000-6
	Lake Habitat Assessment Field Sheet
	· Changed STORET to WIN.

	FD 9000-34
	Stream Habitat Assessment Training Checklist and Event Log
	· Revised requirements for Habitat Assessment proficiency testing process per changes in FA 5720. 

· Revised to match FT 3000.

	FD 9000-35
	Stream Condition Index Training Checklist and Event Log
	· Modified to include sorting, macroinvertebrate ID and mock audit milestones for BioRecon. 

· Revised to match SCI 1000.


Notice of Proposed Rule

DEPARTMENT OF ENVIRONMENTAL PROTECTION
RULE NOS.:
RULE TITLES:

62-160.110
Purpose, Scope and Applicability

62-160.120
Definitions and Standards

62-160.210
Approved Field Procedures

62-160.220
Approval of Alternative and Modified Field Procedures

62-160.240
Record Keeping and Reporting Requirements for Field Procedures

62-160.300
Laboratory Certification

62-160.320
Approved Laboratory Methods

62-160.330
Approval of Alternative and Modified Laboratory Methods

62-160.340
Record Keeping and Reporting Requirements for Laboratory Procedures

62-160.400
Sample Preservation and Holding Times

62-160.600
Research Field and Laboratory Procedures

62-160.650
Field and Laboratory Audits

62-160.670
Data Validation by the Department

62-160.700
Tables

62-160.800
Documents Incorporated by Reference

PURPOSE AND EFFECT: The Department is revising certain quality assurance requirements in Chapter 62-160, F.A.C. The proposed revisions: (1) update the field and laboratory Standard Operating Procedures (SOPs), (2) address miscellaneous, minor revisions to various rules within the Chapter, and (3) generally provide for clarification and increased options for monitoring. Some of the proposed revisions for this Chapter are in response to the Department’s 2025 review of rules pursuant to Section 120.5435, Florida Statutes.

SUMMARY: The Department is revising Chapter 62-160, F.A.C., to: 1) update and revise definitions to be consistent with the use of terms throughout the Chapter, 2) expand procedures for continuous monitoring with field meters, 3) provide instructions for collection of per- and polyfluoroalkyl substances samples, 4) provide additional options for field measurement of chlorine, transparency, and turbidity, 5) modify sampling proficiency requirements for bioassessment methods, 6) clarify conditions for use of field methods other than DEP SOPs or those required in Department rules, permits, contracts or orders, 7) add an option for alternative and modified field procedures to be used in place of a laboratory procedure, 8) add documentation requirements for field and laboratory activities, 9) add language to specify measures taken by the Department for failure of an audited body to provide applicable records to conduct field and laboratory audits, 10) clarify various data qualifier codes based on stakeholder input, 11) update several incorporated documents applicable to current revisions and referenced throughout this Chapter, and 12) make several updates to rule references and dates throughout this Chapter. 
Other Rules Incorporating this Rule: 
40E-61.200, 40E-61.250, 40E-61.280, 40E-63.102, 62-110.104, 62-302.300, 62-302.540, 62-303.200, 62-303.320, 62-303.330, 62-303.350, 62-303.420, 62-303.430, 62-303.460, 62-303.470, 62-307.200, 62-307.300, 62-330.411, 62-330.412, 62-344.400, 62-344.500, 62-4.020, 62-4.246, 62-520.600, 62-528.300, 62-550.550, 62-550.821, 62-555.315, 62-555.340, 62-555.350, 62-565.200, 62-565.500, 62-565.540, 62-565.655, 62-600.200, 62-610.320, 62-610.463, 62-610.472, 62-610.525, 62-610.568, 62-610.652, 62-610.865, 62-620.610, 62-620.620, 62-625.420, 62-625.600, 62-640.650, 62-673.320, 62-673.340, 62-701.200, 62-701.310, 62-701.330, 62-701.510, 62-709.530, 62-713.510, 62-737.200, 62-737.800, 62-780.220, 62-780.300, 62-780.600, 62-780.900.
Effects on Those Other Rules:

Other rules that incorporate Chapter 62-160, F.A.C., direct programs to adhere to quality assurance requirements, protocols for alternative method applications, and standard operating procedures within Chapter 62-160, F.A.C. Proposed revisions to Chapter 62-160, F.A.C., ensure optimal quality assurance within those other programs. Amendments to Chapter 62-160, F.A.C., in this Notice of Proposed Rule are not expected to have any significant impact on the other rules.

SUMMARY OF STATEMENT OF ESTIMATED REGULATORY COSTS AND LEGISLATIVE RATIFICATION: 
The Agency has determined that this rule will have an adverse impact on small business or likely increase directly or indirectly regulatory costs in excess of $200,000 in the aggregate within one year after the implementation of the rule. A SERC has been prepared by the Agency. 
The SERC prepared by the Agency is accessible at https://floridadep.gov/dear/water-quality-standards-program/content/revisions-chapter-62-160-fac-quality-assurance-and-dep.
The Agency has determined that the proposed rule is not expected to require legislative ratification based on the statement of estimated regulatory costs or if no SERC is required, the information expressly relied upon and described herein: There will be an additional one-time cost of $56,560 for field sampling entities and laboratories to purchase new or updated copyrighted documents that are incorporated by reference in Chapter 62-160, F.A.C., and an annual recurring cost of $5,561 to meet new proficiency requirements for all entities that generate or submit bioassessment data to the Department. The sum of these costs is $84,365 for the first five years.
Any person who wishes to provide information regarding the statement of estimated regulatory costs, or to provide a proposal for a lower cost regulatory alternative must do so in writing within 21 days of this notice.

RULEMAKING AUTHORITY: 403.061, 403.0623, 403.0625, FS.

LAW IMPLEMENTED: 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.803, 403.853, 403.863, FS.

IF REQUESTED WITHIN 21 DAYS OF THE DATE OF THIS NOTICE, A HEARING WILL BE SCHEDULED AND ANNOUNCED IN THE FAR.
Public participation is solicited without regard to race, color, religion, sex, pregnancy, national origin, age, handicap, or marital status. Persons who require special accommodations under the American with Disabilities Act (ADA) or persons who require translation services (free of charge) are asked to contact DEP’s Limited English Proficiency Coordinator at (850)245-2118 or LEP@FloridaDEP.gov within 10 days of publication of this notice . If you have a hearing or speech impairment, please contact the agency using the Florida Relay Service, (800)955-8771 (TDD) or (800)955-8770 (voice).
THE PERSON TO BE CONTACTED REGARDING THE PROPOSED RULE IS: DeAsia Armster, Environmental Consultant, Water Quality Standards Program, Florida Department of Environmental Protection, 2600 Blair Stone Road, MS 6511, Tallahassee, FL 32399-2400; telephone (850)245-8429, email DeAsia.Armster@FloridaDEP.gov.
THE FULL TEXT OF THE PROPOSED RULE IS:

62-160.110 Purpose, Scope and Applicability.

(1) through (3) No change.
(4) The provisions of this chapter shall take precedence over quality assurance requirements in any other Department rule except as otherwise specifically provided for elsewhere in this chapter. However, nothing in this subsection shall be construed to prevent additional or more stringent requirements imposed by any specific contract, order, permit, or Title 62 rules. When used in this chapter, “contract” includes purchase requisitions and grants.
(5) No change.

(6) If specifically required by the United States Environmental Protection Agency (EPA) for activities conducted for or funded by the EPA, Quality Assurance Project Plans (QAPPs) shall be prepared in accordance with “EPA Requirements for Quality Assurance Project Plan Standard Plans, EPA CIO 2105-S-02.1, QA/R-5,” which is incorporated by reference in subsection 62-160.800(4), F.A.C. These QAPPs will be reviewed and approved by the appropriate EPA office or the Department, when delegated to the Department by EPA for specific activities.

(7) No change.

(8) All requirements specified in this chapter shall take effect on the date that this chapter is effective. Quality assurance requirements in Department contracts, orders or permits issued or entered into prior to the effective date of this chapter shall remain in effect until such contracts, orders or permits are modified or renewed.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 1-1-91, Amended 2-4-93, 2-27-94, Formerly 17-160.110, Amended 3-24-96, 4-9-02, 6-8-04, 12-3-08, 7-30-14, 4-16-18,           .

62-160.120 Definitions and Standards.

For purposes of this chapter:

(1) through (7) No change.

(8) “Department (DEP or FDEP)” is the Florida Department of Environmental Protection.

(9) No change.

(10) “Department of Health (DOH) Environmental Laboratory Certification Program (ELCP)” is the state of Florida’s environmental laboratory certification program, authorized by Section 381.00591, F.S., and recognized by the National Environmental Laboratory Accreditation Program (NELAP) Acceditation Council as an authority with responsibility and accountability for granting accreditation for specified fields of laboratory testing through Chapter 64E-1, F.A.C., incorporated by reference in subsection 62-160.800(15), F.A.C. 
(11) No change.

(12) “Holding time” is the maximum storage time allowed between sample collection and sample preparation, between sample preparation and analysis, or between sample collection and and/or analysis, as specified by regulatory requirements or by the field sample collection protocol or laboratory method.

(13) “Limited-use method” is an alternative or modified field or laboratory procedure that is approved by the Department for the collection or testing of environmental samples by a single field sampling organization or analytical laboratory for purposes specified in the scope of the approval (e.g., for specified analytes, facility or site locations or types, or sample matrices, such as effluent, groundwater, drinking water, fresh or marine surface waters, soils, sediments, or chemical wastes). A limited-use method that is validated and approved by the Department for a field sampling organization or analytical laboratory may not be used by another field sampling organization or analytical laboratory. The criteria for the validation and approval of a limited-use method are further outlined in subparts FA 2100 and FA 2200 of DEP SOP FA 1000, Regulatory Scope and Administrative Procedures for Use of DEP SOPs, which is incorporated by reference in subparagraph 62-160.800(1)(a)1., F.A.C., and outlined in Alternative and Modified Analytical Laboratory Methods, DEP-QA-001/01, which is incorporated by reference in subsection 62-160.800(5), F.A.C. Requirements for limited-use methods are further discussed in Rules 62-160.220 and 62-160.330, F.A.C., and must be met for Department approval.
(14) through (19) No change.

(20) “NELAP accreditation” is an accreditation status applied to a laboratory’s field(s) of testing upon satisfying all requirements for certification as provided in Chapter 64E-1, F.A.C., incorporated by reference in subsection 62-160.800(15), F.A.C.
(21) “Percent relative standard deviation (% RSD)” is a calculated measure of precision from results of replicate sample analyses. It is calculated as specified in Alternative and Modified Analytical Laboratory Methods, DEP-QA-001/01 (January 2017), which is incorporated by reference in subsection 62-160.800(5) Rule 62-160.800, F.A.C.

(22) No change.

(23) “Practical quantitation limit (PQL)” is the lowest level of measurement that can be reliably achieved during routine laboratory operating conditions within specified limits of precision and accuracy. The value of the PQL shall be greater that the MDL value except when analytical quality control problems necessitate raising the MDL value equal to or above the PQL value for a specific sample, or when determination of the MDL is not appropriate for an analytical technique, as indicated below. A laboratory may determine and verify the PQL by any technically justifiable d scientifically sound method appropriate for the test, unless otherwise required by Department rule, contract, order, or permit. For Departmental use, if a laboratory fails to report a PQL, the PQL shall be calculated as four times the MDL, except for those tests where determination of the MDL is not appropriate for the analytical technique (e.g., biochemical oxygen demand, chlorophyll or microbiological tests). In such cases, the Department shall use all available information about the technique to determine the PQL. For the purposes of data usability evaluation, the DEP-defined PQL is equivalent to the Limit of Quantitation (LOQ) as defined in the 2016 TNI Standard Standards, which are incorporated by reference in paragraph 62-160.800(3)(b), F.A.C.
(24) No change.

(25) “Quality assurance project plan (QAPP)” is a document required by the EPA for certain activities conducted for or funded by the EPA. The plan outlines the quality assurance criteria, as well as all protocols and quality control measures needed to meet the project data quality objectives. These plans are prepared in accordance with “EPA Requirements for Quality Assurance Project Plan Standard Plans, EPA CIO 2105-S-02.1 QA/R-5,” (EPA/240/B-01/003 March 2001), which is incorporated by reference in subsection 62-160.800(4), F.A.C. These QAPPs are reviewed and approved by the appropriate EPA office or the Department, when delegated to the Department by EPA for specific activities.
(26) No change.

(27) “Relative percent difference (RPD)” is a calculated measure used to compare results from duplicate sample analyses. It is calculated as specified in Alternative and Modified Analytical Laboratory Methods, DEP-QA-001/01 (January 2017), which is incorporated by reference in subsection 62-160.800(5) Rule 62-160.800, F.A.C.

(28) through (29) No change.

(30) “Spike” is an environmental or analyte-free quality control sample that has been fortified with a known chemical of interest, at a known concentration. The purpose of a spike is to determine the method recovery efficiency for the chemical of interest, at the fortified concentration level, in the particular environmental sample of interest or in the laboratory.

(31) “Statewide-use method” is a modified or alternative field or laboratory procedure or method that is submitted to and approved by the Department for the collection or testing of environmental samples by any field sampling organization or laboratory, as applicable, according to Rules 62-160.220 and 62-160.330, F.A.C. The criteria for the validation and approval of a statewide-use method are further outlined in subparts FA 2100 and FA 2200 of DEP SOP FA 1000, Regulatory Scope and Administrative Procedures for Use of DEP SOPs, which is incorporated by reference in subparagraph 62-160.800(1)(a)1., F.A.C., and outlined in Alternative and Modified Analytical Laboratory Methods, DEP-QA-001/01, which is incorporated by reference in subsection 62-160.800(5), F.A.C.

(32) No change.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 1-1-91, Amended 2-4-93, 2-27-94, Formerly 17-160.120, Amended 3-24-96, 4-9-02, 6-8-04, 12-3-08, 7-30-14, 4-16-18,         .

62-160.210 Approved Field Procedures.

(1) All persons that conduct or support field activities and field measurements shall follow the applicable procedures and requirements described in the DEP SOP collections titled Standard Operating Procedures for Field Activities, DEP-SOP-001/01, and Standard Operating Procedures for Selected Bioassessment Activities, DEP-SOP-003/11, which are incorporated by reference in paragraphs 62-160.800(1)(a) and 62-160.800(1)(c), F.A.C., respectively.

(2) No change.
(3) All persons that conduct or support activities for the determination of flow (discharge) in surface waters, including for purposes of computing water quantity, shall follow the applicable procedures and requirements in Field Measurement of Stage, Surface Water Velocity, and Discharge (Flow) and Computations of Streamflow, DEP SOP FT 1800, which is incorporated by reference in subparagraph 62-160.800(1)(a)27., F.A.C. The requirements of this subsection shall apply to those waters meeting the definition of “surface waters” in Rule 62-302.200 subsection 62-302.200(38), F.A.C., and the definition of “waters” in Section 403.031(13), F.S.
(4) Any person that wishes to apply for approval of alternative or modified field procedures in place of the approved procedures other than those specified in Standard Operating Procedures for Field Activities, DEP-SOP-001/01, incorporated by reference in paragraph 62-160.800(1)(a), F.A.C.; in place of field procedures specified or required in Department rules, contracts, orders, or permits; or in place of a laboratory procedure, shall follow the requirements provided in Rule 62-160.220, F.A.C.

(5) If field procedures for an activity are not specified in the DEP SOP collections titled Standard Operating Procedures for Field Activities, DEP-SOP-001/01, or Standard Operating Procedures for Selected Bioassessment Activities, DEP-SOP-003/11, incorporated by reference in paragraphs 62-160.800(1)(a) and (c), F.A.C., procedures specified or required in Department rules, permits, contracts, or orders shall be used, if applicable. If field procedures for an activity are not specified or required in Department rules, permits, contracts, or orders, and field procedures for an activity are not included in the DEP SOP collections, any method that satisfies data quality objectives established for the Department project may be used.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 1-1-91, Amended 2-4-93, 2-27-94, Formerly 17-160.210, Amended 3-24-96, 10-15-96, 4-9-02, 6-8-04, 12-3-08, 7-30-14, 4-16-18,       .

62-160.220 Approval of Alternative or and Modified Field Procedures.

(1) Any person or entity may apply for use of a field procedure in place of the approved procedures specified in the DEP SOP collection titled Standard Operating Procedures for Field Activities, DEP-SOP-001/01, that is incorporated by reference in paragraph 62-160.800(1)(a), F.A.C.;, or in place of field procedures that are specified or required in Department other rules, contracts, orders, or permits; or in place of a laboratory procedure of the Department. Any field procedure proposed for use in place of those specified in DEP-SOP-001/01; or specified or required in Department other rules, contracts, orders, or permits; or in place of a laboratory procedure of the Department must be approved by the Department prior to use, according to requirements as further described in this rule (Rule 62-160.220, F.A.C.). Field procedures previously approved for use by a contract (including purchase requisitions), order, or permit issued or entered into by the Department shall remain approved while the contract, order, or permit remains such documents remain in effect. In such cases, the documentation that approved the use of the procedure must be retained for at least five years after expiration of the contract, order, or permit. Modified or alternative field procedures approved by the Department, but not specified in a contract, purchase requisition, order, or permit issued by the Department shall remain approved indefinitely, unless revoked, as provided in subsection 62-160.220(9), F.A.C.

(2) Field procedures used in place of those specified in Standard Operating Procedures for Field Activities, DEP-SOP-001/01, incorporated by reference in paragraph 62-160.800(1)(a), F.A.C.; or in place of field procedures specified or required by Department rules, contracts (including purchase requisitions), orders, or permits; or in place of a laboratory procedure are designated by the Department as alternative field procedures. Alternative field procedures cannot be approved for any of the following:

(a) The procedures in Aquatic Habitat Characterization, DEP SOP FT 3000, including all parts and subparts therein, which are contained in DEP-SOP-001/01, which is incorporated by reference in subparagraph 62-160.800(1)(a)31. paragraph 62-160.800(1)(a), F.A.C.; 
(b) The procedures in Biological Reconnaissance Field Method, DEP SOP SOPs BRN 1000, incorporated by reference in subparagraph 62-160.800(1)(c)1., F.A.C., Lake Vegetation Index Methods, DEP SOP LVI 1000, incorporated by reference in subparagraph 62-160.800(1)(c)2., F.A.C., and Stream Condition Index Methods, DEP SOP SCI 1000, incorporated by reference in subparagraph 62-160.800(1)(c)3. including all parts and subparts therein, which are contained in DEP-SOP-003/11, which is incorporated by reference in paragraph 62-160.800(1)(c), F.A.C.; and,

(c) The procedures for sampling and the description of data quality objectives and criteria for data usability assessments for the Stream Condition Index (SCI) or a BioRecon determination, as discussed in Sampling and Use of the Stream Condition Index (SCI) for Assessing Flowing Waters: A Primer, DEP-SAS-001/11, which is incorporated by reference in paragraph 62-160.800(2)(e), F.A.C., and the Lake Vegetation Index (LVI), as discussed in Sampling and Use of the Lake Vegetation Index (LVI) for Assessing Lake Plant Communities in Florida: A Primer, DEP-SAS-002/11, which is incorporated by reference in paragraph 62-160.800(2)(f), F.A.C.

(3) The Department defines a modification to a field procedure as any change that alters the scope, applicability, specifications, steps, performance criteria, or any other requirements described in a the published procedure, and includes those changes described in subparts FA 2100 and FA 2210 of DEP SOP FA 1000, incorporated by reference in subparagraph 62-160.800(1)(a)1., F.A.C subsection 62-160.220(4), F.A.C., below. A published procedure is a DEP SOP, a field procedure specified in another Department rule, or and other procedures in the scientific or technical literature. Modifications to field procedures are approved by the Department according to the following:

(a) No change.

(b) Except for those modifications described in paragraph 62-160.220(3)(a), F.A.C., above, the Department shall determine whether any modifications to a DEP SOP or to a field procedure specified in any other Department rule, contract, order, or permit, constitute an alternative field procedure, as described in subsections 62-160.220(2), and subparts FA 2100 and FA 2210 of DEP SOP FA 1000, incorporated by reference in subparagraph 62-160.800(1)(a)1., F.A.C. 62-160.220(4), F.A.C. The Department shall evaluate and approve or disapprove the request according to subsection 62-160.220(4), F.A.C.

(c) through (d) No change.

(4) A modified or alternative field procedure, as described in subsection 62-160.220(2) or 62-160.220(3), F.A.C., shall be evaluated and approved or disapproved by the Department according to the requirements in Regulatory Scope and Administrative Procedures for Use of DEP SOPs, subparts FA 2100 and FA 2200 of DEP SOP FA 1000, which is incorporated by reference in subparagraph 62-160.800(1)(a)1., F.A.C. As further described in the DEP SOP subparts cited above, when evaluating or approving the proposed alternative field procedure, the Department shall consider the following factors and requirements for review of the proposed procedure:

(a) through (e) No change.

(5) through (7) No change.

(8) Any alternative or modified field procedure approved for statewide use shall be incorporated into updates of the Department’s field sampling procedures in Standard Operating Procedures for Field Activities, (DEP-SOP-001/01), incorporated by reference in paragraph 62-160.800(1)(a), F.A.C. Alternative or modified field procedures approved for limited use shall not be incorporated into DEP-SOP-001/01.

(9) through (10) No change.

(11) Any person that wishes to use a field procedure in place of a laboratory procedure shall follow the requirements provided in this rule, Regulatory Scope and Administrative Procedures for Use of DEP SOPs, part FA 2000 of DEP SOP FA 1000, incorporated by reference in subparagraph 62-160.800(1)(a)1., F.A.C., and Alternative and Modified Analytical Laboratory Methods, DEP-QA-001/01, incorporated by reference in subsection 62-160.800(5), F.A.C.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 1-1-91, Amended 2-4-93, Formerly 17-160.220, Amended 3-24-96, 10-15-96, 4-9-02, 6-8-04, 12-3-08, 7-30-14, 4-16-18,            .

62-160.240 Record Keeping and Reporting Requirements for Field Procedures.

(1) The record keeping requirements for entities that conduct or support field activities and field measurements are specified in the DEP SOPs contained in the following collections: Standard Operating Procedures for Field Activities, DEP-SOP-001/01, which is incorporated by reference in paragraph 62-160.800(1)(a), F.A.C., including all parts and subparts of DEP SOP FD 1000, which is incorporated by reference in subparagraph 62-160.800(1)(a)3., and Standard Operating Procedures for Selected Bioassessment Activities, DEP-SOP-003/11, which is incorporated by reference in paragraph 62-160.800(1)(c), F.A.C., including all DEP SOPs, parts and subparts therein applicable to bioassessment field activities. The specified records shall contain sufficient information to allow independent reconstruction of all activities related to generating data that are submitted to the Department. These records shall be kept by the generator of the records for a minimum of five years after the date of generation or completion of the records unless otherwise specified in a Department contract, order, permit or Title 62 rules.

(2) No change.

(3) When requested by the Department, the following field sampling information shall be provided to the Department for each site, facility, or site/facility and sampling location, as applicable:

(a) No change. 
(b) Site or and/or facility locational information to include (or as specified by the Department for indicated projects):

1. through 2. No change. 
3. Datum – the horizontal reference for measuring locations on the Earth’s surface, and

4. Spheroid – the ellipsoid used as a model for the surface of the Earth; and,

4.5. Geolocational collection information:

a. through d. No change.

e. Relationship of point to feature – the type of the feature for which the measurement is being made,

f. through g. renumbered e. through f. No change.

(c) Information about the collected samples:

1. through 7. No change. 
8. Any additional information from the field documentation records specified in the DEP SOPs contained in the collections Standard Operating Procedures for Field Activities, DEP-SOP-001/01, and Standard Operating Procedures for Selected Bioassessment Activities, DEP-SOP-003/11, which are incorporated by reference in paragraphs 62-160.800(1)(a) and 62-160.800(1)(c), F.A.C., respectively.
(d) Information about field measurement activities:

1. through 3. No change. 
4. Any additional information from the field documentation records specified in the DEP SOPs contained in the collection Standard Operating Procedures for Field Activities, DEP-SOP-001/01, which is incorporated by reference in paragraph 62-160.800(1)(a), F.A.C.
(e) Information about site conditions:

1. through 2. No change. 
3. Any additional information from the field documentation records specified in the DEP SOPs contained in the collection Standard Operating Procedures for Field Activities, DEP-SOP-001/01 DEP-SOP-001/001/01, which is incorporated by reference in paragraph 62-160.800(1)(a), F.A.C.
(f) through (g) No change. 
(3) through (4) renumbered (4) through (5) No change. 
(6)(5) When data qualifiers are added through a validation or review process that is independent of the field reporting process, the reason for the addition, the date of the addition, and the person adding the qualifier(s) shall be included. These qualifiers shall be included in any documents that are summaries or re-published formats, as described in subsection (5) (4) above.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 4-9-02, Amended 6-8-04, 12-3-08, 7-30-14,          .

62-160.300 Laboratory Certification.

(1) Except as provided in subsections 62-160.300(2) through (8), F.A.C., all laboratories generating environmental data for submission to the Department or for use in Department-regulated or Department-sponsored activities shall hold certification from the Florida Department of Health, Environmental Laboratory Certification Program (DOH ELCP). Such certification shall be for all matrix/test method/analyte(s) combinations being measured. Notwithstanding the definition in Rule 62-160.120, F.A.C., and solely for purposes of this rule, “matrix” means The matrix of a sample is defined to be the condition under which the laboratory originally receives the sample, and shall be classified according to the Field of Accreditation Matrix groups defined by subsection 62-160.120(18), F.A.C.

(a) Certification shall be based on the matrix of the sample. The matrix of a sample is defined to be the condition under which the laboratory originally receives the sample, and shall be classified according to the Field of Accreditation Matrix groups defined by subsection 62-160.120(18), F.A.C.
(b) For laboratories reporting data for drinking water compliance, certification shall be for all matrix/test matrix/text method/analyte(s) combinations being reported.

(c) For the non-potable water matrix, laboratories shall apply for and receive DOH ELCP certification in at least one method for each analytical technology/analyte combination being measured. The Department will accept any of the combinations certified by the DOH ELCP, according to Rule 64E-1.102, F.A.C., incorporated by reference in subsection 62-160.800(15), F.A.C. dated 1-24-05.
1. through 3. No change. 
(d) No change.

(2) No change.

(3) Laboratory certification by the DOH ELCP is not required for the following test procedures identified in subsections 62-550.550(1) and (2), F.A.C., when conducted by an operator licensed under Chapter 62-602, F.A.C., or by persons under the direct supervision of a licensed operator, for the purposes of drinking water compliance:

(a) through (o) No change.

(p) In cases where the Department has a specific field testing method standard operating procedure (e.g., FT 1100 for pH, in Standard Operating Procedures for Field Activities, DEP-SOP-001/01, which is incorporated by reference in paragraph subparagraph 62-160.800(1)(a)19., F.A.C.), the laboratory or authorized person, as described in Rule 62-550.550, F.A.C., shall follow the Department’s procedures. For all other analytes, a laboratory or authorized person, as described in Rule 62-550.550, F.A.C., shall only use test methods that are acceptable for drinking water compliance, as specified in Rule 62-550.550, F.A.C., and shall follow all requirements for calibration verification according to General Field Testing and Measurement, DEP SOP FT 1000 in DEP-SOP-001/01, which is incorporated by reference in subparagraph 62-160.800(1)(a)18., F.A.C.

(4) Certification by the DOH ELCP is not required when conducting the test procedures for the analytes listed in paragraphs 62-160.300(4)(a) through (h), F.A.C., because the Department’s standard operating procedures (SOPs) are more stringent than the corresponding laboratory test methods certified by DOH ELCP. When conducting these test procedures, laboratories shall follow the applicable DEP SOPs in Standard Operating Procedures for Field Activities, DEP-SOP-001/01, (January 2017), which are incorporated by reference in paragraph 62-160.800(1)(a), F.A.C.
(a) through (h) No change.

(5) through (9) No change.
Rulemaking Authority 403.061, 403.0623, 403.0625, 403.863 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.803, 403.853, 403.863 FS. History–New 1-1-91, Amended 2-4-93, 2-27-94, Formerly 17-160.300, Amended 3-24-96, 4-9-02, 6-8-04, 12-3-08, 7-30-14, 4-16-18,           .

62-160.320 Approved Laboratory Methods.

(1) Approved laboratory methods are specified in the Department’s rules, contracts, orders or permits. When methods are specified by a Department rule, contract, order or permit, only those methods shall be used. For informational purposes, the Department maintains lists of methods, method compendiums and publication sources that have been recognized by the Department. When laboratory methods are not specified in Department rules, contracts, orders or permits, applicable methods from the list of recognized methods are approved, where the methods are determined by the Department to satisfy data quality objectives established for the Department project. However, these lists shall not supersede or limit the use of other methods that are required by contract, order, permit or Title 62 rules. Links for the lists of methods are posted on the Department’s webpage at https://floridadep.gov/dear/quality-assurance/content/analytical-method-source http://www.dep.state.fl.us/water/sas/qa/am-sources.htm. Additionally, the Environmental Protection Agency published updated lists of analytical methods in Guidelines Establishing Test Procedures for the Analysis of Pollutants Under the Clean Water Act; Analysis and Sampling Procedures, Final Rule, Federal Register, Vol. 77, No. 97, Friday, May 18, 2012, Rules and Regulations, pp. 29758–29846, which is incorporated by reference in subsection 62-160.800(6), F.A.C.

(2) Except as specified in subsections (3) and (4) below, laboratories performing taxonomic identification for periphyton or benthic macroinvertebrates shall use the procedures in the following DEP SOPs, which are contained in DEP-SOP-002/01, which is incorporated by reference in paragraph 62-160.800(1)(b), F.A.C.:

(a) For taxonomic identification of periphyton, part LQ 7000 and subparts LQ 7100 through LQ 7140 in Laboratory Quality Control, DEP SOP LQ 1000, incorporated by reference in subparagraph 62-160.800(1)(b)2., shall be used, including part LQ 7000, and subparts LQ 7100 through LQ 7140;

(b) For taxonomic identification of benthic macroinvertebrates, part LQ 7000 and subparts LQ 7400 through LQ 7420 in Laboratory Quality Control, DEP SOP LQ 1000, incorporated by reference in subparagraph 62-160.800(1)(b)2., F.A.C., shall be used, including part LQ 7000, and subparts LQ 7400 through LQ 7420.

(3) Laboratories performing taxonomic identifications or calculations for the Stream Condition Index (SCI), the Lake Vegetation Index, or making a Biorecon determination shall use the procedures in the following DEP SOPs, which are contained in DEP-SOP-003/11, which is incorporated by reference in paragraph 62-160.800(1)(c), F.A.C.:

(a) For the Stream Condition Index, Stream Condition Index Methods, DEP SOP SCI 1000, incorporated by reference in subparagraph 62-160.800(1)(c)3., F.A.C., shall be used (including part SCI 2000 and subparts SCI 2100 through SCI 2230);

(b) For the Lake Vegetation Index, Lake Vegetation Index Methods, DEP SOP LVI 1000, incorporated by reference in subparagraph 62-160.800(1)(c)2., F.A.C., shall be used (including part LVI 2000 and subparts LVI 2100 through LVI 2210);

(c) For the BioRecon determination, Biological Reconnaissance Field Method, DEP SOP BRN 1000, incorporated by reference in subparagraph 62-160.800(1)(c)1., F.A.C., shall be used (including part BRN 2000 and subparts BRN 2100 through BRN 2110).

(4) Additionally, laboratories or persons performing taxonomic identifications, calculations or data usability assessments for the Stream Condition Index (SCI), the Lake Vegetation Index, or a BioRecon determination shall follow the procedures and satisfy the data quality objectives discussed in Sampling and Use of the Stream Condition Index (SCI) for Assessing Flowing Waters: A Primer, DEP-SAS-001/11, and Sampling and Use of the Lake Vegetation Index (LVI) for Assessing Lake Plant Communities in Florida: A Primer, DEP-SAS-002/11, which are incorporated by reference in paragraphs 62-160.800(2)(e) and 62-160.800(2)(f), F.A.C., respectively.

(5) Laboratories calculating the Lake Condition Index (LCI) shall use the procedures in Determination of Biological Indices, DEP SOP LT 7000, (including parts LT 7010, LT 7020, LT 7030, LT 7040, LT 7300 and LT 7900, ), which are contained in DEP-SOP-002/01, and incorporated by reference in subparagraph 62-160.800(1)(b)3., F.A.C. 
(6) Laboratories calculating the Wetland Condition Indices (WCI) shall use the procedures in the following subparts of Determination of Biological Indices, DEP SOP LT 7000, part LT 7600, including all subparts as listed below, which are contained in DEP-SOP-002/01, and incorporated by reference in subparagraph 62-160.800(1)(b)3., F.A.C.:

(a) through (b) No change.

(7) Laboratories analyzing for chlorophyll a shall use methods included in Applicability of Chlorophyll a Methods, DEP-SAS-002/10, incorporated by reference in subsection 62-160.800(14), F.A.C., unless otherwise specified in a Department rule, contract, order, or permit.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 4-9-02, Amended 12-3-08, 7-30-14,           .

62-160.330 Approval of Alternative or and Modified Laboratory Methods.

(1) No change.
(2) Laboratory methods used in place of those specified or required in Department rules, contracts (including purchase requisitions), orders, or permits are designated by the Department as alternative laboratory methods. Alternative laboratory methods that support a Department rule, contract, order, or permit must be approved by the Department prior to use. Alternative laboratory methods cannot be approved for the following:

(a) No change.

(b) The following methods from Determination of Biological Indices, DEP SOP LT 7000, DEP-SOP-002/01 (January 2017), which incorporated by reference in subparagraph 62-160.800(1)(b)3., F.A.C., including all subparts of the methods cited:

1. through 2. No change.
(c) The laboratory methods described in the Biological Reconnaissance Field Method, DEP SOP SOPs BRN 1000, incorporated by reference in subparagraph 62-160.800(1)(c)1., F.A.C. (January 2017), Stream Condition Index Methods, DEP SOP SCI 1000 (January 2017), incorporated by reference in subparagraph 62-160.800(1)(c)3., F.A.C., and Lake Vegetation Index Methods, DEP SOP LVI 1000, (January 2017), including all applicable parts and subparts of the methods cited, which are contained in DEP-SOP-003/11, which is incorporated by reference in subparagraph 62-160.800(1)(c)2. paragraph 62-160.800(1)(c), F.A.C.

(3) No change. 
(4) Validation documentation shall be submitted to the Department for all proposed alternative methods and for all proposed modified methods not pre-approved by the Department.
(a) No change.
(b) When validation documentation must be submitted to the Department, alternative laboratory methods and modifications to published laboratory methods shall be demonstrated as appropriate for use according to the requirements in Alternative and Modified Analytical Laboratory Methods, DEP-QA-001/01, which is incorporated by reference in subsection 62-160.800(5), F.A.C. Alternative and modified methods shall be evaluated according to criteria for demonstrations of initial and ongoing performance as required by the original unmodified method or published alternative method. When laboratory certification is required according to Rule 62-160.300, F.A.C., applicable requirements for method validation and applicable initial and ongoing demonstrations of capability shall be performed as required in the applicable testing module of the 2016 TNI Standard, which is incorporated by reference in paragraph 62-160.800(3)(b), F.A.C. In addition, all applicable requirements for the use of non-standard methods, such as validation of methods, as discussed in Module 2 of the 2016 TNI Standard, incorporated by reference in paragraph 62-160.800(3)(b), F.A.C., shall be met for the use of any alternative or modified methods requiring laboratory certification.

(5) When evaluating or approving a proposed alternative or modified laboratory method, the Department shall consider the following factors and requirements for review of the proposed method, in addition to those factors and requirements described in Alternative and Modified Analytical Laboratory Methods, DEP-QA-001/01, incorporated by reference in subsection 62-160.800(5), F.A.C.:

(a) through (e) No change.

(6) The submitted method validation documentation for an alternative laboratory method or modification of a published method shall be evaluated based on its intended use, and designated as either limited-use or statewide-use, if approved:

(a) No change.

(b) For statewide-use methods, the Department shall evaluate and approve the alternative or modified laboratory method for use by laboratories based on the information and data provided to the Department in support of the request for the alternative or modified method approval. Each application for statewide use will be considered on a case-by-case basis by the Department. Approval for statewide use does not guarantee applicability of the procedure for all potential uses. The Department shall require the design of a collaborative study conducted by multiple independent laboratories to investigate the efficacy and robustness of the proposed statewide-use alternative or modified method for specified site or environmental conditions, sample types, sample matrices, waste streams, analytes, or other specifications applicable to the scope of approval requested, according to the following:

1. through 2. No change.

3. Further description and specifications for these studies are provided in Alternative and Modified Analytical Laboratory Methods, DEP-QA-001/01, which is incorporated by reference in subsection 62-160.800(5), F.A.C.

(7) Research methods shall be submitted for review and approval according to the requirements provided in Rrule 62-160.600, F.A.C. If a method is initially developed for research purposes but will subsequently be used for compliance or other regulatory activities, the method shall be submitted for review and approval according to requirements provided in this rule of Rule 62-160.330, F.A.C.

(8) through (11) No change.
Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 4-9-02, Amended 6-8-04, 12-3-08, 7-30-14, 4-16-18,           . 
62-160.340 Record Keeping and Reporting Requirements for Laboratory Procedures.

(1) Laboratory record keeping requirements shall follow those specified by the DOH ELCP in Rule 64E-1.005, F.A.C., incorporated by reference in subsection 62-160.800(15), F.A.C., dated 1-24-05 and this chapter.

(a) through (d) No change.

(2) When requested by the Department, the laboratory shall provide to the Department any of the following records or copies of the records needed to reconstruct analyses, such as:

(a) No change. 
(b) Sample receipt, preparation and analysis information including:

1. through 3. No change. 
4. Sample preparation information, if applicable, including method, date of sample preparation and time of sample preparation if the holding time specified in Rule 62-160.400, F.A.C., is less than or equal to 72 hours;

5. Sample analysis information including analytical method, date of sample analysis, and time of sample analysis if the holding time specified in Rule 62-160.400, F.A.C., is less than or equal to 72 hours; and,

6. No change.

(c) No change.

(d) Laboratory quality control information, such as:

1. through 2. No change.

3. Information pertaining to replicate sample analysis including an unambiguous designation of the replicate sample (e.g., sample duplicate, sample matrix spike duplicate, or laboratory control spike duplicate); result of laboratory replicate analysis; replicate precision expressed in terms required by the reported method or as rRelative pPercent dDifference or pPercent rRelative sStandard dDeviation (defined in DEP-QA-001/01 (January 2017), which is incorporated by reference in paragraph 62-160.800(1)(a), F.A.C.); and acceptance limits for controlling replicate precision (in-house control limits used by the data generator when control limits are not specified by the reported method or data quality objectives identified by the Department).

(e) through (j) No change.

(k) Field quality control results including trip blanks, field blanks, equipment blanks, and field replicates as required by individual DEP SOPs in Standard Operating Procedures for Field Activities, DEP-SOP-001/01, which is incorporated by reference in paragraph 62-160.800(1)(a) 62-160.800(1)(c), F.A.C., or the applicable contract, order, permit, or Ttitle 62 rules;

(l) through (m) No change.

(n) Any additional records required in individual DEP SOPs in Standard Operating Procedures for Laboratory Activities, DEP-SOP-002/01, which is incorporated by reference in paragraph 62-160.800(1)(b), F.A.C., including DEP SOP LD 1000 and all parts and subparts of LD 1000 therein; and, any additional records required in individual DEP SOPs in Standard Operating Procedures for Selected Bioassessment Activities, DEP-SOP-003/11, incorporated by reference in paragraph 62-160.800(1)(c), F.A.C., including all DEP SOP parts and subparts therein, as applicable to the documentation of bioassessment activities.
(3) Except as noted in subsection (4) below, a laboratory shall generate an analytical report that meets the requirements of the DOH ELCP, as specified in Rule 64E-1.005, F.A.C., incorporated by reference in subsection 62-160.800(15), dated 1-24-05, and the 2016 TNI Standard, which is incorporated by reference in paragraph 62-160.800(3)(b), F.A.C. The report shall contain all applicable reporting elements specified in and shall otherwise comply with requirements specified in Sections 5.10 through 5.10.11 of Module 2 of the 2016 TNI Standard, incorporated by reference in paragraph 62-160.800(3)(b), F.A.C. (Quality Systems General Requirements), and shall use the applicable qualifiers as defined in Table 1: Data Qualifier Codes (Rule 62-160.700, F.A.C.). In addition to the stated requirements, laboratories shall ensure that the following requirements are met or reported:
(a) through (c) No change.

(d) When the holding time for a preparation step is specified, the date and time of sample preparation shall be reported. The time shall also be reported if the holding time for sample preparation is equal to or less than 72 hours.
(e) No change.

(4) Laboratories that are operated by a facility and whose sole function is to provide data to the facility management for compliance purposes (i.e., in-house or captive laboratories) as described in section 5.10.10 of Module 2 of the 2016 TNI Standard (Quality Systems General Requirements), which is incorporated by reference in paragraph 62-160.800(3)(b), F.A.C., shall meet the requirements specified in that standard.

(5) through (8) No change.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 4-9-02, Amended 6-8-04, 12-3-08, 7-30-14, 4-16-18,            .

62-160.400 Sample Preservation and Holding Times.

(1) Except as noted in subsection (2) below, or as otherwise provided in the rules of a specific Department program, sample preservation methods, container types and holding times shall follow those requirements specified in DEP-SOP-001/01 (January 2017), part FS 1006 in General Sampling Procedures, DEP SOP FS 1000, which is incorporated by reference in subparagraph 62-160.800(1)(a)6. Rule 62-160.800, F.A.C.

(2) Sample preservation procedures, container material and maximum allowable holding times for analytes not specified in Standard Operating Procedures for Field Activities, DEP-SOP-001/01, incorporated by reference in paragraph 62-160.800(1)(a), F.A.C., (January 2017) shall follow the preservation, container and holding time requirements specified in the selected analytical method. If no method-specified requirements exist, the best available scientific knowledge shall be used as guidance for determining the appropriate procedures for use.

(3) No change.
Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 1-1-91, Amended 2-4-93, Formerly 17-160.400, Amended 3-24-96, 10-15-96, 4-9-02, 6-8-04, 12-3-08, 4-16-18,           .

62-160.600 Research Field and Laboratory Procedures.

(1) through (2) No change.
(3) All research field sampling and laboratory procedures shall be described in a Department-approved work or study plan or in direct contract language. The following minimum elements shall be addressed, as applicable:

(a) through (e) No change.
(f) Identification of any specialized training or certification needed by personnel in order to successfully complete the project or task. This requirement includes specifying any laboratory certification requirements as provided in Rule 62-160.300, F.A.C. However, the Department project manager may waive the requirement for laboratory certification as provided in paragraph 62-160.300(5)(e), F.A.C.
(g) through (h) No change.
(4) No change.
Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 1-1-91, Amended 2-4-93, Formerly 17-160.600, Amended 3-24-96, 10-15-96, 4-9-02, 7-30-14, 4-16-18,            .

62-160.650 Field and Laboratory Audits.

(1) The Department and agencies or individuals with delegated authority from the Department shall conduct audits of field and laboratory procedures or and/or records to determine if approved protocols are being followed as required and to ensure data are being generated in compliance with the requirements of this chapter. 
(2) An audit shall consist of one or more of the following:

(a) An on-site assessment of field sampling or and/or laboratory procedures;

(b) A review, assessment, or and/or validation of data associated with a Department program activity;

(c) The submission of performance samples (e.g., blind, split, or and/or performance check samples) to an organization for subsequent use in the evaluation of that organization’s technical performance associated with a specific Department project or program activity; or

(d) No change.

(3) When requested by the Department Upon request, the audited field sampling organization, individual consultant, or responding party shall provide copies of all applicable records as specified in Rule 62-160.240, F.A.C. Information Sufficient information shall be provided to enable the auditor to independently reconstruct all field procedures related to the project shall be provided. Failure to provide requested records within six months after receipt of the Department’s request shall result in a recommendation that affected Department programs not use data produced by the audited party.

(4) When requested by the Department Upon request, the audited laboratory, individual consultant, or responding party shall provide copies of those applicable records as specified in Rule 62-160.340, F.A.C. Information Sufficient information shall be provided to enable the auditor to independently reconstruct all laboratory procedures related to the project shall be provided. Failure to provide requested records within six months after receipt of the Department’s request shall result in a recommendation that affected Department programs not use data produced by the audited party. 
(5) through (7) No change.
(8) The requirements in subsections 62-160.650(4) through 62-160.650(7), F.A.C., shall not apply to field proficiency audits of organizations or persons conducting field bioassessment procedures according to Biological Reconnaissance Field Method, DEP SOP SOPs BRN 1000, Lake Vegetation Index Methods, DEP SOP LVI 1000, Stream Condition Index Methods, DEP SOP SCI 1000, subpart FS 7460 in General Biological Community Sampling, DEP SOP FS 7000, or Aquatic Habitat Characterization, DEP SOP FT 3000, which are incorporated by reference in subparagraphs 62-160.800(1)(c)1.-3., 62-160.800(1)(a)16., and 62-160.800(1)(a)31. 62-160.800(1)(a)30., F.A.C., respectively. However, subsections 62-160.650(4) through 62-160.650(7), F.A.C., shall apply to audits of laboratory macroinvertebrate taxonomy procedures and documentation.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 1-1-91, Formerly 17-160.650, Amended 3-24-96, 4-9-02, 12-3-08, 7-30-14, 4-16-18,          .

62-160.670 Data Validation by the Department.

(1) All data generated for Department activities are subject to data verification and data validation to determine if the data are suitable and usable for a specified purpose. Data shall be verified and validated based on the assessment of the following:

(a) through (i) No change.

(j) Status of the laboratory’s certification through the DOH ELCP as provided in Chapter 64E-1, F.A.C., incorporated by reference in subsection 62-160.800(15), F.A.C., for any given analyte or category of analytes; and,

(k) No change.

(2) No change.
(3) In addition to subsection (2) above, the Department shall also evaluate data according to the following:

(a) The process outlined in the Department’s document “Department of Environmental Protection Process for Assessing Data Usability (DEP-EA-001/07),” dated March 31, 2008, which is incorporated by reference in subsection 62-160.800(13) Rule 62-160.800, F.A.C.

(b) The description of data quality objectives and criteria for data usability assessments for the Stream Condition Index (SCI) or a BioRecon determination, as discussed in Sampling and Use of the Stream Condition Index (SCI) for Assessing Flowing Waters: A Primer, DEP-SAS-001/11, which is incorporated by reference in paragraph 62-160.800(2)(e), F.A.C., and for the Lake Vegetation Index (LVI), as discussed in Sampling and Use of the Lake Vegetation Index (LVI) for Assessing Lake Plant Communities in Florida: A Primer, DEP-SAS-002/11, which is incorporated by reference in paragraph 62-160.800(2)(f), F.A.C.
(4) No change.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 1-1-91, Amended 2-4-93, 2-27-94, Formerly 17-160.670, Amended 3-24-96, 4-9-02, 12-3-08, 4-16-18,      .

62-160.700 Tables.

The following table has been referenced in this chapter and is identified by this Title:

Table 1: Data Qualifier Codes.

Table 1

DATA QUALIFIER CODES

The following codes shall be used by laboratories or and/or field organizations when reporting sample data values that either meet the specified descriptions outlined below or do not meet the applicable quality control criteria specified for the laboratory or field result. Data qualifier codes listed in summary reports or other presentations comprising information that has been reformatted from original reports generated by field or laboratory organizations or individuals shall meet the requirements of subsections 62-160.240(5) 62-160.240(4) and 62-160.340(7), F.A.C. Data qualifier codes added to sample results during data review procedures conducted by organizations or individuals other than the generators of original reports shall meet the requirements of subsections 62-160.240(6) 62-160.240(5) and 62-160.340(8), F.A.C. The Lab/Field designation in the “Applied By” column indicates whether the data qualifier code is applied by laboratory or field personnel.

	CODE
	APPLIED BY
	DEFINITION

	A
	Lab
	Value reported is the arithmetic mean (average) of two or more determinations. This code shall be used if the reported value is the average of results for two or more discrete and separate samples. These samples shall have been processed and analyzed independently. Do not use this code if the data are the result of replicate analysis on the same sample aliquot, extract or digestate (for example, for Stream Condition Index, biochemical oxygen demand or bacteriological analyses, or instrumental analyses such as Inductively Coupled Plasma).

	B
	Lab
	Results based upon colony counts outside the acceptable range. This code applies to microbiological tests and specifically to membrane filter colony counts. The code is to be used if the colony count is generated from a plate in which the total number of coliform colonies is outside the method indicated ideal range. This code is not to be used if a 100 mL sample has been filtered and the colony count is less than the lower value of the ideal range.

	C
	Field
	Data were corrected for estimated effects of instrument drift or fouling. This code applies to continuously collected field testing data collected per part FT 1920 of Continuous Monitoring Meters, DEP SOP FT 1900, incorporated by reference in subparagraph 62-160.800(1)(a)28., F.A.C.

	D
	Field
	Measurement was made in the field (i.e., in situ). This code applies to any value (except field measurements of pH, specific conductance, dissolved oxygen, temperature, total residual chlorine, transparency, turbidity, salinity, or Secchi depth) that was obtained under field conditions using approved analytical methods.

	E
	Field
	Indicates that extra samples were taken at composite stations.

	F
	Lab
	When reporting species: F indicates the female sex.

	G
	Field
	A “G” ‒ qualified sample value indicates that the analyte was detected at or above the method detection limit in both the sample and the associated field blank, equipment blank, or trip blank, and the blank value was greater than 10% of the associated sample value. The value in the blank shall not be subtracted from associated samples. 

	H
	Field
	Value based on field kit determination or unapproved field testing procedure used in place of a laboratory procedure; results may not be accurate. This code shall be used if a field screening test (e.g., field gas chromatograph data, immunoassay, or vendor-supplied field kit) or probe was used to generate the value and the field kit, probe, or method has not been recognized by the Department as equivalent to laboratory methods.

	I 
	Lab
	The reported value is greater than or equal to the laboratory method detection limit but less than the laboratory practical quantitation limit.

	J
	Lab or Field
	Estimated value. A “J” – qualified sample value shall be accompanied by a detailed explanation to justify the reason(s) for designating the value as estimated. Where possible, the organization shall report whether the actual sample value is estimated to be less than or greater than the reported value, to assist data users in any evaluation of the usability of the sample value. A “J” data qualifier code shall not be used as a substitute for G, K, L, M, S, T, V, or Y; however, if additional reasons exist for identifying the value as an estimate (e.g., laboratory control spike or matrix spiked failed to meet acceptance criteria), the “J” code may be added to a G, K, L, M, T, U, V, or Y qualifier. The following are examples of when a “J” code must be reported: instances where a quality control item associated with the reported value failed to meet the established quality control criteria (the specific failure must be identified); instances when the sample matrix interfered with the ability to make any accurate determination; instances when data are questionable because of improper laboratory or field protocols (e.g., sample bottle compromised in transit or container made of unapproved material, a guard is not properly attached to a field meter during continuous deployment composite sample was collected instead of a grab sample); instances when the analyte was detected at or above the method detection limit in an analytical laboratory blank other than the method blank (such as a calibration blank) and, the blank value is greater than 10% of the associated sample value; or, instances when the field or laboratory calibrations or calibration verifications did not meet calibration acceptance criteria, including quantitative or chronological bracketing requirements for field testing data or instances of suspected sensor drift or fouling during continuous field meter deployment.

	K
	Lab
	Off-scale low. Actual value is known to be less than the value given. This code shall not be used for microbiological tests or for biochemical oxygen demand. This code shall not be used for field-testing measurements where quantitative bracketing is required. This code shall only be used for those tests using a calibration curve if:

1. The value is less than the lowest calibration standard and the calibration curve is known to be non-linear; or

2. The value is known to be less than the reported value based on sample size, dilution.

This code shall not be used to report values that are less than the laboratory practical quantitation limit or laboratory method detection limit.

	L
	Lab
	Off-scale high. Actual value is known to be greater than value given. This code shall not be used for microbiological tests or biochemical oxygen demand. This code shall not be used for field-testing measurements where quantitative bracketing is required. To be used when the concentration of the analyte is above the acceptable level for quantitation (exceeds the linear range or highest calibration standard) and the calibration curve is known to exhibit a negative deflection.

	M
	Lab
	When reporting chemical analyses: presence of material is verified but not quantified; the actual value is less than the value given. The reported value shall be the laboratory practical quantitation limit. This code shall be used if the level is too low to permit accurate quantification, but the estimated concentration is greater than or equal to the method detection limit. If the value is less than the method detection limit use “T” below.

	N
	Lab
	Presumptive evidence of presence of material. This qualifier shall be used if:

1. The component has been tentatively identified based on mass spectral library search; or

2. There is an indication that the analyte is present, but quality control requirements for confirmation were not met (i.e., presence of analyte was not confirmed by alternative procedures).

	O
	Lab
	Sampled, but analysis lost or not performed. 

	Q
	Lab
	Sample held beyond the accepted holding time. This code shall be used if the value is derived from a sample that was prepared or analyzed after the maximum approved holding time restrictions for sample preparation or analysis. This code shall be reported with sample results calculated from two or more component analyses, if one or more component sample preparations or analyses were performed out of holding time.

	R
	Field
	Significant rain in the past 48 hours. (Significant rain typically involves rain in excess of 1/2 inch within the past 48 hours.) This code shall be used when the rainfall might contribute to a lower or higher than normal value.

	S
	Field
	Secchi disk visible to bottom of waterbody. The value reported is the depth of the waterbody at the location of the Secchi disk measurement.

	T


	Lab
	Value reported is less than the laboratory method detection limit. The value is reported for informational purposes only and shall not be used in statistical analysis. Use of the “T” qualifier is only acceptable under rare circumstances and only if requested by the client; it should not be used for routine reporting of results.

	U
	Lab
	Indicates that the compound was analyzed for but not detected. This symbol shall be used to indicate that the specified component was not detected. The value associated with the qualifier shall be the laboratory method detection limit. This code shall also be used to indicate the laboratory reporting limit, where applicable to the specific test, according to paragraph 62-160.340(3)(c), F.A.C. (e.g., biochemical oxygen demand, chlorophyll or microbiological tests). Unless requested by the client, values less than the method detection limit shall not be reported (see “T” above).

	V
	Lab
	A “V” ‒ qualified sample value indicates that the analyte was detected at or above the method detection limit in both the sample and the associated method blank and the blank value was greater than 10% of the associated sample value. The 10% criterion shall not apply to blank results for biochemical oxygen demand (BOD) or microbiological tests. For BOD tests, the “V” code shall be used for all sample results where the associated method blank result exceeds the maximum blank DO depletion specified in the analytical method. For microbiological tests, the “V” code shall be used for all samples where growth of the target organism is indicated in both the sample and the associated method blank indicates growth of the target organism. Note: unless specified by the method, the value in the blank shall not be subtracted from associated samples.

	X
	Lab
	Indicates, when reporting results from a Stream Condition Index aAnalysis in accordance with DEP SOP (SCI 1000), incorporated by reference in subparagraph 62-160.800(1)(c)3., F.A.C., that insufficient individuals were present in the sample to achieve a minimum of 280 organisms for identification (the method calls for two aliquots of 140-160 organisms), suggesting either extreme environmental stress or a sampling error.

	Y
	Lab 
	The laboratory analysis was from an improperly preserved sample. The data may not be accurate.

	Z
	Lab
	Too many colonies were present for accurate reporting counting. Report this qualifier code and the dilution factor when: Historically, this condition has been reported as “too numerous to count” (TNTC). The “Z” qualifier code shall be reported when 
1. Tthe total number of colonies of all types is more than 200 in all dilutions of the sample tested using a membrane filtration method filter technique. When applicable to the observed test results, a numeric value for the colony count for the target microorganism tested may be estimated by a laboratory from the highest dilution factor (smallest sample volume) and the upper limit of the ideal colony count range indicated in the method used for the test, and reported with the qualifier code. Atypical, non-target, spreading colonies or other interferences may prevent estimation of typical target organism counts, and reporting a numerical result may not be possible. Report “No Result” along with the qualifier code when this condition is observed, or when more than 200 non-target colonies are observed. Additional comments such as “confluent growth” may be reported with the “Z” code. When required by Chapter 62-550, F.A.C., the samples with verified, positive colonies must be reported as detections. 
2. Enzymatic substrate methods show a positive result for all wells of the tray in all dilutions of the sample tested. Result must be reported as the upper limit of the tray multiplied by the highest dilution tested with the “Z” qualifier code.

	? 
	Lab or Field
	Data are rejected and should not be used. For a lab test, sSome or all of the quality control data for the analyte were outside criteria, and the presence or absence of the analyte cannot be determined from the data. For continuous monitoring with field meters, this qualifier may be used when the probe multifunctioned, was out of the water, or when the probe was otherwise not operating properly. A “?” – qualified sample value shall be accompanied by a detailed explanation to justify the reason(s) for designating the value as rejected.

	!
	Lab or Field
	Data deviate from historically established concentration ranges.

	* 
	Lab
	Not reported due to interference. 


The following codes deal with certain aspects of field activities. The codes shall be used if the laboratory has knowledge of the specific sampling event. The codes shall be added by the organization collecting samples if they apply:

	CODE
	DEFINITION

	D
	Measurement was made in the field (i.e., in situ). This code applies to any value (except field measurements of pH, specific conductance, dissolved oxygen, temperature, total residual chlorine, transparency, turbidity or salinity) that was obtained under field conditions using approved analytical methods. If the parameter code specifies a field measurement (e.g., “Field pH”), this code is not required.

	E
	Indicates that extra samples were taken at composite stations.

	G
	A “G” ‒ qualified sample value indicates that the analyte was detected at or above the method detection limit in both the sample and the associated field blank, equipment blank, or trip blank, and the blank value was greater than 10% of the associated sample value. The value in the blank shall not be subtracted from associated samples.

	R
	Significant rain in the past 48 hours. (Significant rain typically involves rain in excess of 1/2 inch within the past 48 hours.) This code shall be used when the rainfall might contribute to a lower or higher than normal value.

	S
	Secchi disk visible to bottom of waterbody. The value reported is the depth of the waterbody at the location of the Secchi disk measurement.

	!
	Data deviate from historically established concentration ranges.


Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 1-1-91, Amended 2-4-93, 2-27-94, Formerly 17-160.700, Amended 3-24-96, 4-9-02, 6-8-04, 12-3-08, 7-30-14, 4-16-18, .

62-160.800 Documents Incorporated by Reference.

The following documents, collections and forms are incorporated herein by reference for use in complying with the requirements of this chapter. Except as otherwise indicated below, copies of incorporated documents and forms are available for review during normal business hours at the Department of Environmental Protection, Water Quality Standards Program, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400, or may be obtained from the Department’s website at https://floridadep.gov/dear/quality-assurance http://www.dep.state.fl.us/water/sas/qa/, or by writing to the Florida Department of Environmental Protection, Water Quality Standards Program, 2600 Blair Stone Road, MS #6511, Tallahassee, Florida FL 32399-2400.

(1) Department of Environmental Protection Standard Operating Procedures (DEP SOPs) are organized into the three numbered collections designated below. The DEP SOPs contained in each collection are listed following the title and number of the indicated collection. References in this chapter to the alphanumeric designation for each individual DEP SOP as listed below include reference to all parts, subparts and sections of the cited DEP SOP, unless otherwise cited in a specific rule. 
(a) Standard Operating Procedures for Field Activities, DEP-SOP-001/01, effective date [Month Year] dated January 2017:

1. FA 1000, Regulatory Scope and Administrative Procedures for Use of DEP SOPs, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19286) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07948);

2. FC 1000, Cleaning/Decontamination Procedures, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19287) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07949);

3. FD 1000, Documentation Procedures, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19288) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07950);

4. FM 1000, Field Planning and Mobilization, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19289) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07951);

5. FQ 1000, Field Quality Control Requirements, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19290) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07952);

6. FS 1000, General Sampling Procedures, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19291) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07953);

7. FS 2000, General Aqueous Sampling, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19292) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07954);

8. FS 2100, Surface Water Sampling, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19293) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07955);

9. FS 2200, Groundwater Sampling, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19294) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07956);

10. FS 2300, Drinking Water Sampling, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19295) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07957);

11. FS 2400, Wastewater Sampling, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19296) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07958);

12. FS 3000, Soil Sampling, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19297) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07959);

13. FS 4000, Sediment Sampling, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19298) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07960);

14. FS 5000, Waste Sampling, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19299) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07961);

15. FS 6000, General Biological Tissue Sampling, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19300) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07962);

16. FS 7000, General Biological Community Sampling, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19301) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07963);

17. FS 8100, Contaminated Surface Sampling, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19302) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07964);

18. FS 8200, Clean Sampling for Ultratrace Metals in Surface Waters, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19303) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07965);

19. FT 1000, General Field Testing and Measurement, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19304) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07966);

20. FT 1100, Field Measurement of Hydrogen Ion Activity (pH), effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19305) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07967);

21. FT 1200, Field Measurement of Specific Conductance and (Conductivity), effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19306) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07968);

22. FT 1300, Field Measurement of Salinity, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19307) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07969);

23. FT 1400, Field Measurement of Temperature, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19308) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07970);

24. FT 1500, Field Measurement of Dissolved Oxygen, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19309) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07971);

25. FT 1600, Field Measurement of Turbidity and Total Suspended Solids (TSS), effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19310) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07972);

26. FT 1700, Field Measurement of Light Penetration (Secchi Depth and Transparency), effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19311) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07973);

27. FT 1800, Field Measurement of Stage, Surface Water Velocity, and Discharge (Flow) and Computations of Streamflow, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19312) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07974);

28. FT 1900, Continuous Monitoring With Installed Meters, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19313) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07975);

29. FT 2000, Field Measurement of Residual Chlorine, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19314) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07976); 
30. FT 2100, Field Measurement of Nitrate Using Ultraviolet Optical Sensors, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19315); and,

31.30. FT 3000, Aquatic Habitat Characterization, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19316) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07977).

(b) Standard Operating Procedures for Laboratory Activities, DEP-SOP-002/01, effective date [Month Year] dated January 2017:

1. LD 1000, Laboratory Documentation, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19317) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07978);

2. LQ 1000, Laboratory Quality Control, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19318) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07979); and,

3. LT 7000, Determination of Biological Indices, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19319) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07980).

(c) Standard Operating Procedures for Selected Bioassessment Activities, DEP-SOP-003/11, effective date [Month Year] dated January 2017:

1. BRN 1000, Biological Reconnaissance Field Method, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19320) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07981);

2. LVI 1000, Lake Vegetation Index Methods, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19321) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07982); and,

3. SCI 1000, Stream Condition Index Methods, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19322) dated January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07983).

(2) The following documents and DEP forms are cited in certain DEP SOPs included in the numbered collections DEP-SOP-001/01, DEP-SOP-002/01 or DEP-SOP-003/11 (citation locations in parentheses).

(a) No change.
(b) Code of Federal Regulations (CFR):

1. Table II, Required Containers, Preservation Techniques, and Holding Times, 40 CFR 136.3(e), revised as of July 1, 2024, effective date [Month Year], Ch. I, Part 136.3, Identification of Test Procedures, 7/1/16 Edition, including all footnotes (DEP-SOP-001/01) (https://flrules.org/Gateway/reference.asp?No=Ref-19323) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07986); and,

2. 29 CFR, 1910.120, Hazardous Waste Operations and Emergency Response, revised as of July 1, 2024, effective date [Month Year] 7/1/16 Edition (DEP-SOP-001/01) (https://flrules.org/Gateway/reference.asp?No=Ref-19324) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07987).

(c) Methods and sections included in Standard Methods for the Examination of Water and Wastewater, published by American Public Health Association (APHA), as listed below. These documents are copyright protected. Copies of these documents are available for review during normal business hours at the Department of Environmental Protection, Water Quality Standards Program, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400, or at the Department of State, R.A. Gray Building, 500 South Bronough Street, Tallahassee, Florida 32399-0250, or from the publisher at APHA, 800 I Street NW, Washington, DC 20001-3710, or from the publisher at https://www.standardmethods.org/ http://standardmethods.org/store/.
1. No change.

2. Section 9060, Samples, subsection 9060 A.3.a., Potable Water, 2013 2006 (DEP-SOP-001/01), effective date [Month Year];

3. through 6. No change.

7. Methods 4500-O B, C, H, and G, Oxygen (Dissolved), 2016 2011 (DEP-SOP-001/01), effective date [Month Year]; and,
8. Table 4500-H+:2 I, Preparation of pH Standard Solutions, in method 4500-H+-B, (2021) 2011 (DEP-SOP-001/01), effective date [Month Year]; and,

9. Method 4500-NO3-B, Nitrogen (Nitrate) Ultraviolet Spectrophotometric Screening Method, 2016 (DEP-SOP-001/01), effective date [Month Year].

(d) Methods published by ASTM International, as listed below. Copies of these methods are available for review during normal business hours at the Department of Environmental Protection, Water Quality Standards Program, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400, or from the publisher at ASTM International, 100 Barr Harbor Drive, P.O. Box C700, West Conshohocken, PA 19428-2959, or from the publisher’s website at http://www.astm.org/Standard/index.html.
1. ASTM E1391-03 (2008), Standard Guide for Collection, Storage, Characterization, and Manipulation of Sediments for Toxicological Testing and for Selection of Samplers Used to Collect Benthic Invertebrates, 2003, ASTM International (DEP-SOP-001/01), effective date [Month Year]. This document is copyright protected. A copy of this document is available for review during normal business hours at the Department of Environmental Protection, Water Quality Standards Program, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400, or at the Department of State, R.A. Gray Building, 500 South Bronough Street, Tallahassee, Florida 32399-0250, or from the publisher at ASTM International, 100 Barr Harbor Drive, P.O. Box C700, West Conshohocken, PA 19428-2959, or from the publisher’s website at http://www.astm.org/Standard/index.html.; and,
2. ASTM D888-12e1, Standard Test Methods for Dissolved Oxygen in Water, 2012, ASTM International (DEP-SOP-001/01).

(e) Department of Environmental Protection, Sampling and Use of the Stream Condition Index (SCI) for Assessing Flowing Waters: A Primer, DEP-SAS-001/11, effective date [Month Year] dated 10/24/11 (DEP-SOP-003/11) (https://flrules.org/Gateway/reference.asp?No=Ref-19325) (http://www.flrules.org/Gateway/reference.asp?No=Ref-04341).

(f) Department of Environmental Protection, Sampling and Use of the Lake Vegetation Index (LVI) for Assessing Lake Plant Communities in Florida: A Primer, DEP-SAS-002/11, effective date [Month Year] dated 10/24/11 (DEP-SOP-003/11) (https://flrules.org/Gateway/reference.asp?No=Ref-19326) (http://www.flrules.org/Gateway/reference.asp?No=Ref-04342).
(g) United States Geological Survey, Temperature: U.S. Geological Survey Techniques and Methods, book 9, chap. A6.1, 14 p., 2024, effective date [Month Year] National Field Manual for the Collection of Water-Quality Data, Book 9, Chapter A6, Field Measurements, Section 6.1, Temperature, Techniques of Water-Resources Investigations, Version 2, 3/2006 (DEP-SOP-001/01) (https://flrules.org/Gateway/reference.asp?No=Ref-19327) (https://www.flrules.org/gateway/reference.asp?NO=Ref-04343).

(h) Merritt, R.W., Cummins, K.W. and Berg, M.B., An Introduction to the Aquatic Insects of North America, Fourth Edition, 2008 (DEP-SOP-002/01 and DEP-SOP-003/11). A copy of this document is available for review during normal business hours at the Department of Environmental Protection, Water Quality Standards Program, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400 or from the publisher at Kendal Hunt Publishing Company, 4050 Westmark Drive, Dubuque, IA 52004-1840.

(h)(i) DEP Forms cited:

1. Form FD 9000-1, BioRecon Field Sheet, dated January 2017 (DEP-SOP-001/01, DEP-SOP-003/11) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07988);

2. Form FD 9000-3, Physical/Chemical Characterization Field Sheet, dated January 2017 (DEP-SOP-001/01, DEP-SOP-003/11) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07989);

3. Form FD 9000-4, Stream/River Habitat Sketch Sheet, dated January 2017 (DEP-SOP-001/01, DEP-SOP-003/11) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07990);

1.4. Form FD 9000-5, Stream/River Habitat Assessment Field Sheet, effective date [Month Year] dated January 2017 (DEP-SOP-001/01, DEP-SOP-003/11) (https://flrules.org/Gateway/reference.asp?No=Ref-19328) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07991);

2.5. Form FD 9000-6, Lake Habitat Assessment Field Sheet, effective date [Month Year] dated January 2017 (DEP-SOP-001/01) (https://flrules.org/Gateway/reference.asp?No=Ref-19329) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07992);

6. Form FD 9000-24, Groundwater Sampling Log, dated January 2017 (DEP-SOP-001/01) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07993);

7. Form FD 9000-25, Rapid Periphyton Survey Field Sheet, dated January 2017 (DEP-SOP-001/01) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07994);

8. Form FD 9000-27, Lake Vegetation Index Field Sheet, dated January 2017 (DEP-SOP-001/01, DEP-SOP-003/11) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07995);

9. Form FD 9000-31, Lake Observation Field Sheet, dated January 2017 (DEP-SOP-001/01, DEP-SOP-003/11) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07996);

10. Form FD 9000-32, Linear Stream Vegetation Survey Field Sheet, dated January 2017 (DEP-SOP-001/01) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07997);

11. Form FD 9000-33, Vegetation Wetland Condition Index Field Sheet, dated January 2017 (DEP-SOP-001/01) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07998);
3.12. Form FD 9000-34, Stream Habitat Assessment Training and Evaluation Checklist and Event Log, effective date [Month Year] dated January 2017 (DEP-SOP-001/01) (https://flrules.org/Gateway/reference.asp?No=Ref-19330) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07999); and,

4.13. Form FD 9000-35, Stream Condition Index and BioRecon Training Checklist and Event Log, effective date [Month Year] dated January 2017 (DEP-SOP-003/11) (https://flrules.org/Gateway/reference.asp?No=Ref-19331) (http://www.flrules.org/Gateway/reference.asp?No=Ref-08000).

(i)(j) United States Geological Survey (USGS) references included in DEP SOP FT 1800, Field Measurement of Stage, Surface Water Velocity, and Discharge (Flow) and Computations of Streamflow, incorporated by reference in subparagraph 62-160.800(1)(a)27., F.A.C., effective date [Month Year], below (DEP-SOP-001/01). Copies of these documents are available for review during normal business hours at the Department of Environmental Protection, Water Quality Standards Program, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400, or may be obtained from the United States Geological Survey, 12201 Sunrise Valley Drive, Reston, VA 20192, or through USGS’s website at https://pubs.usgs.gov/ https://www.usgs.gov/products/publications/official-usgs-publications.

1. United States Geological Survey, Techniques of Water-Resources Investigations, Book 3, https://pubs.usgs.gov/twri/index090905.html:

a. Chapter A2, Dalrymple, Tate, and Benson, M.A., 1968, Measurement of peak discharge by the slope-area method, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19354);
b. Chapter A3, Bodhaine, G.L, 1968, Measurement of peak discharge at culverts by indirect methods, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19355);

c. Chapter A4, Muttahai, H.F. 1967, Measurement of peak discharge at width contractions by indirect methods, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19356);

d. Chapter A5, Hulsing, Harry, 1967, Measurement of peak discharge at dams by indirect methods, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19357);

e. Chapter A6, Carter, R.W., and Davidian, Jacob, 1968, General procedures procedure for gaging streams, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19358);

f. Chapter A10, Kennedy, E.J., 1984, Discharge ratings at gaging stations, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19359);

g. Chapter A11, Smoot, G.F., and Novack, C.E., 1969, Measurement of discharge by the moving-boat method, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19360);

h. Chapter A13, Kennedy, E.J., 1983, Computation of continuous records of streamflow, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19361);

i. Chapter A14, Kilpatrick, F.A. and Schneider, V.R., 1983, Use of flumes in measuring discharge, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19362); and,

j. Chapter A21, Wagner, C. Russell, 1995, Stream-gaging cableways, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19363).
2. United States Geological Survey, Techniques and Methods, Book 3, https://pubs.usgs.gov/browse/Report/USGS%20Numbered%20Series/Techniques%20and%20Methods/:

a. Chapter A7, Sauer, V.B., and Turnipseed, D.P., 2010, Stage measurement at gaging stations, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19364);
b. Chapter A8, Turnipseed, D.P., and Sauer, V.B., 2010, Discharge measurements at gaging stations, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19365);

c. Chapter A22, Mueller, D.S., Wagner, C.R., Rimmel, M.S., Oberg, K.A., and Rainville, Francois, 2013, Measuring discharge with acoustic Doppler current profilers from a moving boat, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19366); and,

d. Chapter A23, Levesque, V.A., and Oberg, K.A., 2012, Computing discharge using the index velocity method, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19367).
(3) NELAC and TNI Standards, as listed below. These documents are copyright protected. Copies of these documents are available for review during normal business hours at the Department of Environmental Protection, Water Quality Standards Program, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400, or at the Department of State, R.A. Gray Building, 500 South Bronough Street, Tallahassee, Florida 32399-0250, or from the publisher at The NELAC Institute, P.O. Box 2439, Weatherford, TX 76086, or the publisher’s website at http://www.nelac-institute.org/index.php.

(a) No change.
(b) The NELAC Institute (TNI), EL-V1-ISO-2016-Rev. 2.1 2.0, Environmental Laboratory Sector, Vol. 1, Modules 1-7, Management and Technical Requirements for Laboratories Performing Environmental Analysis (2016), effective date [Month Year]. Referred to as “2016 TNI Standard” in this chapter and incorporated documents.
(4) EPA Requirements for Quality Assurance Project Plan Standard Plans, EPA CIO 2105-S-02.1, Form Rev. 08/21/2023, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19333) QA/R-5 (EPA/240/B-01/003), March 2001 (http://www.flrules.org/Gateway/reference.asp?No=Ref-04358).

(5) Alternative and Modified Analytical Laboratory Methods, DEP-QA-001/01, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19334) (dated January 2017) (http://www.flrules.org/Gateway/reference.asp?No=Ref-08001) and the following documents cited therein:

(a) Definition and Procedure for the Determination of the Method Detection Limit – Revision 2 1.11, 40 CFR Part 136, Appendix B, revised as of July 1, 2024, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19335) 7-1-16 Edition (http://www.flrules.org/Gateway/reference.asp?No=Ref-08008);

(b) through (c) No change. 
(6) 40 CFR, Part 136.3, Identification of tTest pProcedures, revised as of July 1, 2024, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19336) 7/1/16 edition (http://www.flrules.org/Gateway/reference.asp?No=Ref-08009).

(7) 40 CFR, Part 136.4, Application for and approval of alternate test procedures for nationwide use, revised as of July 1, 2024, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19337) 7/1/16 edition (http://www.flrules.org/Gateway/reference.asp?No=Ref-08011).

(8) 40 CFR, Part 136.5, Approval of alternate test procedures for limited use, revised as of July 1, 2024, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19340) 7/1/16 edition (http://www.flrules.org/Gateway/reference.asp?No=Ref-08012).

(9) 40 CFR, Part 136.6, Method mModifications and aAnalytical rRequirements, revised as of July 1, 2024 (https://flrules.org/Gateway/reference.asp?No=Ref-19338), effective date [Month Year] 7/1/16 edition (http://www.flrules.org/Gateway/reference.asp?No=Ref-08014).

(10) 40 CFR Part 141, National Primary Drinking Water Regulations, Subpart C, Monitoring and Analytical Requirements, section 141.27, Alternate analytical techniques, revised as of July 1, 2024, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19339) 7/1/16 edition (http://www.flrules.org/Gateway/reference.asp?No=Ref-08016).

(11) Chapter Two, Choosing the Correct Procedure, Section 2.1, Guidance Regarding Flexibility Inherent to SW-846 Methods and the Precedence of SW-846 Quality Control Criteria (July 2014 February 2007), in Test Methods for Evaluating Solid Waste, Physical/Chemical Methods (SW-846), effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19341) (http://www.flrules.org/Gateway/reference.asp?No=Ref-04368). This publication may be viewed at https://www.epa.gov/hw-sw846/sw-846-compendium http://www.epa.gov/epawaste/hazard/testmethods/sw846/online/index.htm, where it may also be downloaded. A printed copy may be obtained from the National Technical Information Service, U.S. Department of Commerce, 5301 Shawnee Road, Alexandria, VA. 22312.

(12) No change.
(13) Process for Assessing Data Usability (DEP-EA-001/07), effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19342) dated March 31, 2008 (http://www.flrules.org/Gateway/reference.asp?No=Ref-04369).

(14) Applicability of Chlorophyll a Methods (DEP-SAS-002/10), effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19343), and the following documents cited therein:
(a) Standard Methods for the Examination of Water and Wastewater, Method 10150, Determination of Chlorophyll A, Sections B, C, and D, 2022, published by APHA, effective date [Month Year]. This document is copyright protected. A copy of this document is available for review during normal business hours at the Department of Environmental Protection, Water Quality Standards Program, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400, or at the Department of State, R.A. Gray Building, 500 South Bronough Street, Tallahassee, Florida 32399-0250, or from the publisher at APHA, 800 I Street NW, Washington, DC 20001-3710, or from the publisher at https://www.standardmethods.org/buy/.
(b) EPA 445.0, In Vitro Determination of Chlorophyll a and pheophytin a in Marine and Freshwater Algae by Fluorescence, Rev. 1.2, September 1997, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19344).

(c) EPA 446.0, In Vitro Determination of Chlorophylls a, b, c1 + c2 and Pheopigments in Marine and Freshwater Algae by Visible Spectrophotometry, Rev. 1.2, September 1997, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19345).

(d) EPA 447.0, Determination of Chlorophylls a and b and Identification of Other Pigments of Interest in Marine and Freshwater Algae Using High Performance Liquid Chromatography with Visible Wavelength Detection, Version 1.0, September 1997, effective date [Month Year] (https://flrules.org/Gateway/reference.asp?No=Ref-19346).

(e) Standard Methods for the Examination of Water and Wastewater, Method 10200 H., Determination of Chlorophyll A, Sections 2, 3, and 4, 2011, published by APHA, effective date [Month Year]. This document is copyright protected. A copy of this document is available for review during normal business hours at the Department of Environmental Protection, Water Quality Standards Program, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400, or at the Department of State, R.A. Gray Building, 500 South Bronough Street, Tallahassee, Florida 32399-0250, or from the publisher at APHA, 800 I Street NW, Washington, DC 20001-3710, or from the publisher at https://www.standardmethods.org/buy/.
(15) Chapter 64E-1, F.A.C., “Certification of Environmental Testing Laboratories,” effective September 26, 2018, (https://flrules.org/Gateway/reference.asp?No=Ref-19347).
Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 4-9-02, Amended 6-8-04, 12-3-08, 7-30-14, 4-16-18,         .

FT 1900, Continuous Monitoring With Installed Meters, is substantially rewritten. See F.A.C. for present text at http://www.flrules.org/Gateway/reference.asp?No=Ref-07975.
Sampling and Use of the Stream Condition Index (SCI) for Assessing Flowing Waters: A Primer, DEP-SAS-001/11, (DEP-SOP-003/11), is substantially rewritten. See F.A.C. for present text at http://www.flrules.org/Gateway/reference.asp?No=Ref-04341.

Process for Assessing Data Usability (DEP-EA-001/07), is substantially rewritten. See F.A.C. for present text at http://www.flrules.org/Gateway/reference.asp?No=Ref-04369. 
NAME OF PERSON ORIGINATING PROPOSED RULE: Lawrence Glenn, Director, Division of Environmental Assessment and Restoration

NAME OF AGENCY HEAD WHO APPROVED THE PROPOSED RULE: Alexis Lambert, Secretary
DATE PROPOSED RULE APPROVED BY AGENCY HEAD: February 18, 2026
DATE NOTICE OF PROPOSED RULE DEVELOPMENT PUBLISHED IN FAR: July 17, 2024
� Note that these will be the rules that will be adhered to if the Governor approves this year’s PFAS legislation, HB 1019.





2

